SCOPE OF WORK

Sub: Supply, Fabrication and Fixing of uPVC partition at Akashvani Kumbakonam -reg

The following works to be carried out at Akashvani  Kumbakonam

| Sl. No. | Description of Stores | Qty | Rate per Sq.mt | Total in Rs. |
| --- | --- | --- | --- | --- |
| Providing and fixing of uPVC partition together with doors Specifications similar to VEKA |  |  |  |  |
| 1 | For Fixed partition and Door shutter uPVC mullion profile 74mm x 34mm | 55 Sq. mt |  |  |
| 2 | For all Glass and Al. grill uPVC single glazing bead 6mm, 12mm and Double glazing bead 20mm and 24mm |  |  |  |
| 3 | For reinforcement in tpv gaskets to be used |  |  |  |
| 4 | uPVC sections are to be smooth straight and joined mechanically wherever required including cleat angles, metal screws etc., |  |  |  |
| 5 | Joint connecting uPVC post corner profile (90 Degree), bay pole, pipe profile, Bay pole adaptor /pile adaptor profile should be used. |  |  |  |
| 6 | uPVC panel for partition 100mx200mm |  |  |  |
| 7 | The bottom and the top portions and 5mm thick float clear glass of standard make similar to saint gobin etc., in the middle portion fixed with necessary rubber bedding and the boards and the glasses will be held in position with necessary glazing clips or with expansion hold fasteners including necessary filing up of gaps at junctions with required pvc/neoprene felt etc., |  |  |  |
| 8 | Providing and fixing of uPVC SLIDING door of 950 x 2000 mms size – 1 no |  |  |  |
| 9 | Providing and fixing of uPVC SLIDING door of 1000x2000mm feet size -2 nos. |  |  |  |
|  | Supporting for partitions from roof with suitable 600 GI down rods/ butterfly cleats |  |  |  |
|  | Transport Charges |  |  |  |
|  | Total |  |  |  |
|  | IGST |  |  |  |
|  | Grand Total |  |  |  |

Note:  Payments will be made as per the actual measurements